## Weighted Perato Charts
Purely Requirement Based new 1 low 3 3 high | Single | [5 empty] | Multi |  |  |  | Line
| Scada | Cumulative | 1212C | Cumulative | 1510sp | Cumulative | 1510sp | Cumulative | 1212C | Cumulative | 1510sp | Cumulative | 1212C | Cumulative |  |  | Scada | Cumulative | 1212C | Cumulative | 1510sp | Cumulative | 1510sp | Cumulative | 1212C | Cumulative | 1510sp | Cumulative | 1212C | Cumulative
Supports MQTT | 3 | 0.26087 | 2 | 0.13383 | 2 | 0.13585 | 2 | 0.13483 | 2 | 0.13483 | 2 | 0.15721 | 2 | 0.15721 | 2.5946 | Supports MQTT | 3 | 0.26087 | 2 | 0.13383 | 2 | 0.13585 | 2 | 0.13483 | 2 | 0.13483 | 2 | 0.15721 | 2 | 0.15721
Background Tasks | 3 | 0.28986 | 2 | 0.1487 | 2 | 0.15094 | 2 | 0.14981 | 2 | 0.14981 | 2 | 0.17467 | 2 | 0.17467 | 0.28829 | Background Tasks | 3 | 0.28986 | 2 | 0.1487 | 2 | 0.15094 | 2 | 0.14981 | 2 | 0.14981 | 2 | 0.17467 | 2 | 0.17467
Supports Local HMI per machine | 3 | 0.57971 | 3 | 0.37175 | 3 | 0.37736 | 3 | 0.37453 | 3 | 0.37453 | 1 | 0.26201 | 1 | 0.26201 | 2.8829 | Supports Local HMI per machine | 3 | 0.57971 | 3 | 0.37175 | 3 | 0.37736 | 3 | 0.37453 | 3 | 0.37453 | 1 | 0.26201 | 1 | 0.26201
Experience of local engineers and E-Techs | 1 | 0.63768 | 3 | 0.50558 | 3 | 0.51321 | 3 | 0.50936 | 3 | 0.50936 | 3 | 0.41921 | 3 | 0.41921 | 1.7297 | Experience of local engineers and E-Techs | 1 | 0.63768 | 3 | 0.50558 | 3 | 0.51321 | 3 | 0.50936 | 3 | 0.50936 | 3 | 0.41921 | 3 | 0.41921
Easy Remote Administration | 3 | 0.75362 | 2 | 0.56506 | 2 | 0.57358 | 2 | 0.56929 | 2 | 0.56929 | 2 | 0.48908 | 2 | 0.48908 | 1.1532 | Easy Remote Administration | 3 | 0.75362 | 2 | 0.56506 | 2 | 0.57358 | 2 | 0.56929 | 2 | 0.56929 | 2 | 0.48908 | 2 | 0.48908
Repairability | 1 | 0.80193 | 3 | 0.67658 | 3 | 0.68679 | 3 | 0.68165 | 3 | 0.68165 | 3 | 0.62009 | 3 | 0.62009 | 1.4414 | Repairability | 1 | 0.80193 | 3 | 0.67658 | 3 | 0.68679 | 3 | 0.68165 | 3 | 0.68165 | 3 | 0.62009 | 3 | 0.62009
Designed for an industrial setting | 1 | 0.81159 | 3 | 0.69888 | 3 | 0.70943 | 3 | 0.70412 | 3 | 0.70412 | 3 | 0.64629 | 3 | 0.64629 | 0.28829 | Designed for an industrial setting | 1 | 0.81159 | 3 | 0.69888 | 3 | 0.70943 | 3 | 0.70412 | 3 | 0.70412 | 3 | 0.64629 | 3 | 0.64629
Common development environment | 1 | 0.88406 | 3 | 0.86617 | 3 | 0.87925 | 3 | 0.87266 | 3 | 0.87266 | 3 | 0.84279 | 3 | 0.84279 | 2.1622 | Common development environment | 1 | 0.88406 | 3 | 0.86617 | 3 | 0.87925 | 3 | 0.87266 | 3 | 0.87266 | 3 | 0.84279 | 3 | 0.84279
documentation | 1 | 0.89372 | 3 | 0.88848 | 3 | 0.90189 | 3 | 0.89513 | 3 | 0.89513 | 3 | 0.869 | 3 | 0.869 | 0.28829 | documentation | 1 | 0.89372 | 3 | 0.88848 | 3 | 0.90189 | 3 | 0.89513 | 3 | 0.89513 | 3 | 0.869 | 3 | 0.869
Built In IO | 2 | 0.91304 | 3 | 0.91078 | 1 | 0.90943 | 3 | 0.9176 | 3 | 0.9176 | 3 | 0.8952 | 3 | 0.8952 | 0.28829 | Built In IO | 2 | 0.91304 | 3 | 0.91078 | 1 | 0.90943 | 3 | 0.9176 | 3 | 0.9176 | 3 | 0.8952 | 3 | 0.8952
IO Expansion | 1 | 0.92271 | 3 | 0.93309 | 3 | 0.93208 | 2 | 0.93258 | 2 | 0.93258 | 2 | 0.91266 | 2 | 0.91266 | 0.28829 | IO Expansion | 1 | 0.92271 | 3 | 0.93309 | 3 | 0.93208 | 2 | 0.93258 | 2 | 0.93258 | 2 | 0.91266 | 2 | 0.91266
Complexity of setup/Configuration | 3 | 0.95169 | 3 | 0.95539 | 3 | 0.95472 | 2 | 0.94757 | 2 | 0.94757 | 2 | 0.93013 | 2 | 0.93013 | 0.28829 | Complexity of setup/Configuration | 3 | 0.95169 | 3 | 0.95539 | 3 | 0.95472 | 2 | 0.94757 | 2 | 0.94757 | 2 | 0.93013 | 2 | 0.93013
Adding Restrictions from other software | 3 | 0.98068 | 2 | 0.97026 | 2 | 0.96981 | 2 | 0.96255 | 2 | 0.96255 | 2 | 0.9476 | 2 | 0.9476 | 0.28829 | Adding Restrictions from other software | 3 | 0.98068 | 2 | 0.97026 | 2 | 0.96981 | 2 | 0.96255 | 2 | 0.96255 | 2 | 0.9476 | 2 | 0.9476
Multi Machine Support | 1 | 0.99034 | 1 | 0.9777 | 1 | 0.97736 | 2 | 0.97753 | 2 | 0.97753 | 3 | 0.9738 | 3 | 0.9738 | 0.28829 | Multi Machine Support | 1 | 0.99034 | 1 | 0.9777 | 1 | 0.97736 | 2 | 0.97753 | 2 | 0.97753 | 3 | 0.9738 | 3 | 0.9738
Bad Part Reporting Details | 1 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 0.28829 | Bad Part Reporting Details | 1 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1

## Pareto Charts
Purely Requirement Based new 1 low 3 3 high | Single | [5 empty] | Multi |  |  |  | Line
| Scada | Cumulative | 1212C | Cumulative | 1510sp | Cumulative | 1510sp | Cumulative | 1212C | Cumulative | 1510sp | Cumulative | 1212C | Cumulative
Supports MQTT | 3 | 0.10714 | 2 | 0.051282 | 2 | 0.054054 | 2 | 0.052632 | 2 | 0.052632 | 2 | 0.054054 | 2 | 0.054054
Background Tasks | 3 | 0.21429 | 2 | 0.10256 | 2 | 0.10811 | 2 | 0.10526 | 2 | 0.10526 | 2 | 0.10811 | 2 | 0.10811
Supports Local HMI per machine | 3 | 0.32143 | 3 | 0.17949 | 3 | 0.18919 | 3 | 0.18421 | 3 | 0.18421 | 1 | 0.13514 | 1 | 0.13514
Experience of local engineers and E-Techs | 1 | 0.35714 | 3 | 0.25641 | 3 | 0.27027 | 3 | 0.26316 | 3 | 0.26316 | 3 | 0.21622 | 3 | 0.21622
Easy Remote Administration | 3 | 0.46429 | 2 | 0.30769 | 2 | 0.32432 | 2 | 0.31579 | 2 | 0.31579 | 2 | 0.27027 | 2 | 0.27027
Repairability | 1 | 0.5 | 3 | 0.38462 | 3 | 0.40541 | 3 | 0.39474 | 3 | 0.39474 | 3 | 0.35135 | 3 | 0.35135
Designed for an industrial setting | 1 | 0.53571 | 3 | 0.46154 | 3 | 0.48649 | 3 | 0.47368 | 3 | 0.47368 | 3 | 0.43243 | 3 | 0.43243
Common development environment | 1 | 0.57143 | 3 | 0.53846 | 3 | 0.56757 | 3 | 0.55263 | 3 | 0.55263 | 3 | 0.51351 | 3 | 0.51351
documentation | 1 | 0.60714 | 3 | 0.61538 | 3 | 0.64865 | 3 | 0.63158 | 3 | 0.63158 | 3 | 0.59459 | 3 | 0.59459
Built In IO | 2 | 0.67857 | 3 | 0.69231 | 1 | 0.67568 | 3 | 0.71053 | 3 | 0.71053 | 3 | 0.67568 | 3 | 0.67568
IO Expansion | 1 | 0.71429 | 3 | 0.76923 | 3 | 0.75676 | 2 | 0.76316 | 2 | 0.76316 | 2 | 0.72973 | 2 | 0.72973
Complexity of setup/Configuration | 3 | 0.82143 | 3 | 0.84615 | 3 | 0.83784 | 2 | 0.81579 | 2 | 0.81579 | 2 | 0.78378 | 2 | 0.78378
Adding Restrictions from other software | 3 | 0.92857 | 2 | 0.89744 | 2 | 0.89189 | 2 | 0.86842 | 2 | 0.86842 | 2 | 0.83784 | 2 | 0.83784
Multi Machine Support | 1 | 0.96429 | 1 | 0.92308 | 1 | 0.91892 | 2 | 0.92105 | 2 | 0.92105 | 3 | 0.91892 | 3 | 0.91892
Bad Part Reporting Details | 1 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1

## Devlin Score Sheet new
|  |  | Purely Requirement Based new 1 low 3 3 high | Single |  |  | Multi |  | Line
required |  |  |  | Scada | 1212C | 1510sp | 1510sp | 1212C | 1510sp | 1212C | Weight Real | Only Required real | Weight Scaled | Only Required Scaled | Notes
yes | 1 | Software flexibilty | Supports MQTT | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 0.9 | 0.9 | 2.5946 | 3.236 | High weight as it is a main component to the project.
no | 2 |  | Background Tasks | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 0.1 | 0 | 0.28829 | 0 | Lower Weight as it can be avoided easily
yes | 3 |  | Supports Local HMI per machine | 3 | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | 2.8829 | 3.5955 | Medium weight as it would be really helpful however isnt directly required at the moment.
yes | 4 | Maintainability | Experience of local engineers and E-Techs | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 0.6 | 0.6 | 1.7297 | 2.1573 | High weight as it greatly impacts maintainability
no | 5 |  | Easy Remote Administration | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 0.4 | 0 | 1.1532 | 0 | medium weight as it is helpful but not directly required for setup and maintenance of the machines.
yes | 6 |  | Repairability | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 0.5 | 0.5 | 1.4414 | 1.7978 | Medium weight just like the cost. However it is an important factor for setup and maintenece so it is important
no | 7 |  | Designed for an industrial setting | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 0.1 | 0 | 0.28829 | 0 | low weight and importance since these will all be inside external enclosures
yes | 8 |  | Common development environment | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 0.75 | 0.75 | 2.1622 | 2.6966 | High weight and importance as it will directly influence future maintainablity here at the plant.
yes | 9 |  | documentation | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 0.1 | 0.1 | 0.28829 | 0.35955 | High weight and importance as it will directly influence future maintainablity here at the plant.
no | 10 | IO | Built In IO | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 0.1 | 0 | 0.28829 | 0 | Low weight since they all atleast have the required IO
no | 11 |  | IO Expansion | 1 | 3 | 3 | 2 | 2 | 2 | 2 | 0.1 | 0 | 0.28829 | 0 | low weight and importance since we do not need it to complete the project. It is however a nice benefit of the siemens series as it allows greater acuracy in some respects
yes | 12 | Ease of setup | Complexity of setup/Configuration | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 0.1 | 0.1 | 0.28829 | 0.35955 | low weight but high importance sinceit is a one time cost on setup but a direct cost for the project.
no | 13 | Adaptability | Adding Restrictions from other software | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 0.1 | 0 | 0.28829 | 0 | Low wieght and importance since it is purely an addon feature.
no | 14 |  | Multi Machine Support | 1 | 1 | 1 | 2 | 2 | 3 | 3 | 0.1 | 0 | 0.28829 | 0 | low weight and importance since it is purely an addon feature. It will however also affect the cost which gives it a higher impact than displayed in this category. Check price tab for more information
no | 15 |  | Bad Part Reporting Details | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 0.1 | 0 | 0.28829 | 0 | Low wieght and importance since it is purely an addon feature.
yes | 16 | cost | Cost | 5 | 3 | 1 | 2 | 4 | 6 | 7 | 0.5 | 0.5 | 1.4414 | 1.7978
|  |  | Score Unweighted | 34 | 42 | 40 | 40 | 42 | 43 | 44 | 0.34687 | 0.27813 |  | 40.7143 | Average Score
|  |  | Score weighted | 37.3333 | 43.0991 | 40.2162 | 41.3694 | 44.2523 | 41.6577 | 43.0991 |  |  |  | 41.5753 | Average Score
|  |  | Only Required | 37.573 | 44.764 | 41.1685 | 42.6067 | 46.2022 | 42.6067 | 44.4045 |  |  |  | 42.7608 | Average Score
|  |  | Percent Diff Betwean Required and Non | 0.64205 | 3.8631 | 2.368 | 2.991 | 4.4065 | 2.2783 | 3.0288 |  |  |  | 2.7968 | Average Diff Percent
|  |  | Percent Impact of Base weighting | 9.8039 | 2.6169 | 0.54054 | 3.4234 | 5.3625 | -3.1217 | -2.0475 |  |  |  | 2.3683 | Average Impact
|  |  | Percent Impact from non weighted to weighted required | 10.5089 | 6.5811 | 2.9213 | 6.5169 | 10.0054 | -0.91455 | 0.91931 |  |  |  | 5.2198 | Average Impact
|  |  | Normalized Required Score | 37.5551 | 44.7426 | 41.1488 | 42.5863 | 46.1801 | 42.5863 | 44.3832 |  |  |  | 4.786% | Deviation caused betwean score and required weighted score
[11 empty] | 0.12828 | 0.14809 | 0.13819 | 0.14215 | 0.15206 | 0.14314 | 0.14809
|  |  | Zoomed In | Scada | 1212 Single | 1510 single | 1510 multi | 1212 multi | 1510 Line | 1212 Line
|  |  | Score Unweighted | 1 | 9 | 7 | 7 | 9 | 10 | 11
|  |  | Score Weighted | 4.3333 | 10.0991 | 7.2162 | 8.3694 | 11.2523 | 8.6577 | 10.0991
|  |  | Score Only Required | 4.573 | 11.764 | 8.1685 | 9.6067 | 13.2022 | 9.6067 | 11.4045
|  |  | Zoomed Out | Scada | 1212 Single | 1510 single | 1510 multi | 1212 multi | 1510 Line | 1212 Line
|  |  | Score Unweighted | 34 | 42 | 40 | 40 | 42 | 43 | 44
|  |  | Score Weighted | 37.3333 | 43.0991 | 40.2162 | 41.3694 | 44.2523 | 41.6577 | 43.0991
|  |  | Score Only Required | 37.5551 | 44.7426 | 41.1488 | 42.5863 | 46.1801 | 42.5863 | 44.3832

## Prices
|  |  | Device Cost | Cost Per new machine | Cost for 4 machines | Straight Base | CPU cost | Accessories
|  | Siemens 1211C | 678 | 678 | 2712 | 3162 | 170.89 | 506.2
|  | Siemens Using Remote IO 1510sp | 1523 | 706.19 | 3642 | 4428 | 816.46 | 706.19
|  | SCADA PIResistiveTouchscreen keyboard Mouse | 527 | 527 | 2108 | 5870.76 | 430 | 97
[10 empty] | Machines | Lines
|  | Siemens 1212 | 737.85 | 737.85 | 2952 |  | 231.65 | 506.2 | Based on 1 Machine | 1 | 1
|  | Siemens 1214 | 855.57 | 855.57 | 3423 |  | 349.37 | 506.2 |  | 1212C | 1510 Single | Scada | 1510 Multi | 1212C Multi | 1510 Line | 1212C Line
|  | Siemens 1217 | 915.7 | 915.7 | 3663 |  | 755.7 | 506.2 | CPU | 232 | 816 | 430 | 816 | 232 | 816 | 232
|  | SCADA Monitor Keyboard Mouse | 527 | 527 | 2108 |  | 430 | 160 | Display | 347 | 347 | 74 | 347 | 347 | 694 | 694
|  |  | HMI Cost | storage | IO Expansion |  |  |  | Expansion IO | 91.9 | 200 | 0 | 407.99 | 407.99 | 407.99 | 407.99
|  | Siemens 1211 | 346.71 | 159.49 |  |  |  |  | Storage | 159 | 159 | 0 | 159 | 159 | 159 | 159
|  | Siemens Using Remote IO 1510sp | 346.71 | 159.49 | 199.99 |  |  |  | MISC (Keyboard Mouse wiring adapters) | 0 | 0 | 32 | 0 | 0 | 0 | 0
|  | SCADA PIResistiveTouchscreen | 97 | 0
|  | Siemens 1212 | 346.71 | 159.49
|  | Siemens 1214 | 346.71 | 159.49 |  |  |  |  | total | 829.9 | 1522 | 536 | 1729.99 | 1145.99 | 2076.99 | 1492.99
|  | Siemens 1217 | 346.71 | 159.49 | [5 empty] | Machines | Lines
|  | SCADA Monitor Keyboard Mouse | 160 | 0 |  |  |  |  | Based on 4 machines | 4 | 1
[10 empty] | 1212C | 1510 Single | Scada | 1510 Multi | 1212C Multi | 1510 Line | 1212C Line
[9 empty] | CPU | 928 | 3264 | 1720 | 816 | 464 | 816 | 232
Percent Cheaper than 1211C | Percent Cheaper than 1510 |  | CPU | HMI | Storage | IO Expansion |  |  | Display | 1388 | 1388 | 296 | 1388 | 1388 | 694 | 694
0% | 18.95% | 1212C | 926.6 | 1386.84 | 637.96 | 0 |  |  | Expansion IO | 367.6 | 800 | 0 | 1631.96 | 1631.96 | 1631.96 | 1631.96
4.291% | 0% | 1510sp | 816.46 | 1386.84 | 637.96 | 799.96 |  |  | Storage | 636 | 636 | 0 | 159 | 318 | 159 | 159
28.58% | 42.12% | SCADA | 1720 | 388 | 0 | 0 |  |  | MISC (Keyboard Mouse wiring adapters) | 0 | 0 | 128 | 0 | 0 | 0 | 0
[9 empty] | total | 3319.6 | 6088 | 2144 | 3994.96 | 3801.96 | 3300.96 | 2716.96
[10 empty] | Machines | Lines
[9 empty] | Based on Straight Base Line | 6 | 1 | [6 empty] | Based on GS Line |  | CPU | Display | Expansion IO | Storage | MISC (Keyboard Mouse wiring adapters) | total
[10 empty] | 1212C | 1510 Single | Scada | 1510 Multi | 1212C Multi | 1510 Line | 1212C Line | Machines | 6 | 1212C Line | 232 | 694 | 1200 | 159 | 0 | 2285
[9 empty] | CPU | 1392 | 4896 | 2580 | 1632 | 464 | 816 | 232 | Lines | 1 | 1510 Line | 816 | 694 | 1200 | 159 | 0 | 2869
[9 empty] | Display | 2082 | 2082 | 444 | 2082 | 2082 | 694 | 694 |  |  | Scada | 2580 | 444 | 0 | 0 | 192 | 3216
[9 empty] | Expansion IO | 551.4 | 1200 | 0 | 2447.94 | 2447.94 | 2447.94 | 2447.94 |  |  | 1212C Multi | 464 | 2082 | 1200 | 318 | 0 | 4064
[9 empty] | Storage | 954 | 954 | 0 | 318 | 318 | 159 | 159 |  |  | 1212C | 1392 | 2082 | 551.4 | 954 | 0 | 4979.4
[9 empty] | MISC (Keyboard Mouse wiring adapters) | 0 | 0 | 192 | 0 | 0 | 0 | 0 |  |  | 1510 Multi | 1632 | 2082 | 1200 | 318 | 0 | 5232
[19 empty] | 1510 Single | 4896 | 2082 | 1200 | 954 | 0 | 9132
[9 empty] | total | 4979.4 | 9132 | 3216 | 6479.94 | 5311.94 | 4116.94 | 3532.94
[9 empty] | Automation of plant | 4 | 12 | [6 empty] | x
[10 empty] | 1212C | 1510 Single | Scada | 1510 Multi | 1212C Multi | 1510 Line | 1212C Line
[9 empty] | CPU | 11136 | 39168 | 20640 | 9792 | 5568 | 4896 | 2784
[9 empty] | Display | 16656 | 16656 | 3552 | 16656 | 16656 | 4164 | 8328
[9 empty] | Expansion IO | 4411.2 | 9600 | 0 | 19583.52 | 19583.52 | 19583.52 | 19583.52
[9 empty] | Storage | 7632 | 7632 | 0 | 1908 | 3816 | 1908 | 1908
[9 empty] | MISC (Keyboard Mouse wiring adapters) | 0 | 0 | 1536 | 0 | 0 | 0 | 0
[9 empty] | total | 39835.2 | 73056 | 25728 | 47939.52 | 45623.52 | 30551.52 | 32603.52
[10 empty] | 1212C Single | Scada Single | 1510 Multi | 1510 Line
[9 empty] | Cost for 1 machine | 829.9 | 536 | 1729.99 | 2076.99
[9 empty] | Cost for 4 Machines | 3319.6 | 2144 | 3994.96 | 3300.96
[9 empty] | Cost for Straight Base | 4979.4 | 3216 | 6479.94 | 4116.94
[9 empty] | %less than 1212 | 0% | 35.41% | -30.13% | 17.32%
[9 empty] | %less than 1510 | -20.95% | 21.88% | -57.4% | 0%
[9 empty] | GS Line | 1212C | 1510 | Scada | Minimum
[9 empty] | Single | 4979.4 | 9132 | 3216 | 3216
[9 empty] | Multi | 4064 | 5232 | 0 | 4064
[9 empty] | Line | 2285 | 2869 | 0 | 2285

## Price Per Machine Graph
| 1212C | 1510 Single | Scada | 1510 Multi | 1212C Multi | 1510 Line | 1212C Line |  | Machines Per Line | 6 | 1212C | 1510 Single | Scada | 1510 Multi | 1212C Multi | 1510 Line | 1212C Line
Price Per Line HMIs | 0 | 0 | 0 | 0 | 0 | 694 | 694 | MinMax | 1000000 | 21 | 17427.9 | 31962 | 11067 | 23654.79 | 18591.79 | 16525 | 14189
CPU storage Cost | 391 | 975 | 430 | 975 | 391 | 975 | 391 |  |  | 1 | 829.9 | 1522 | 527 | 2704.99 | 1145.99 | 2138 | 1554
Price Per Machine | 438.9 | 547 | 97 | 754.99 | 754.99 | 469 | 469 |  |  | 2 | 1659.8 | 3044 | 1054 | 3459.98 | 1900.98 | 2607 | 2023
Number of machines supported | 1 | 1 | 1 | 4 | 3 | 16 | 32 |  |  | 3 | 2489.7 | 4566 | 1581 | 4214.97 | 2655.97 | 3076 | 2492
Number of Lines supported | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  |  | 4 | 3319.6 | 6088 | 2108 | 4969.96 | 3801.96 | 3545 | 2961
[10 empty] | 5 | 4149.5 | 7610 | 2635 | 6699.95 | 4556.95 | 4014 | 3430
| 829.9 | 1522 | 536 | 1522 | 938 | 1869 | 1285 |  |  | 6 | 4979.4 | 9132 | 3162 | 7454.94 | 5311.94 | 4483 | 3899
[10 empty] | 7 | 5809.3 | 10654 | 3689 | 9184.93 | 6457.93 | 6621 | 5453
[10 empty] | 8 | 6639.2 | 12176 | 4216 | 9939.92 | 7212.92 | 7090 | 5922
[10 empty] | 9 | 7469.1 | 13698 | 4743 | 10694.91 | 7967.91 | 7559 | 6391
[10 empty] | 10 | 8299 | 15220 | 5270 | 11449.9 | 9113.9 | 8028 | 6860
[10 empty] | 11 | 9128.9 | 16742 | 5797 | 13179.89 | 9868.89 | 8497 | 7329
[10 empty] | 12 | 9958.8 | 18264 | 6324 | 13934.88 | 10623.88 | 8966 | 7798
[10 empty] | 13 | 10788.7 | 19786 | 6851 | 15664.87 | 11769.87 | 11104 | 9352
[10 empty] | 14 | 11618.6 | 21308 | 7378 | 16419.86 | 12524.86 | 11573 | 9821
[10 empty] | 15 | 12448.5 | 22830 | 7905 | 17174.85 | 13279.85 | 12042 | 10290
[10 empty] | 16 | 13278.4 | 24352 | 8432 | 17929.84 | 14425.84 | 12511 | 10759
[10 empty] | 17 | 14108.3 | 25874 | 8959 | 19659.83 | 15180.83 | 12980 | 11228
[10 empty] | 18 | 14938.2 | 27396 | 9486 | 20414.82 | 15935.82 | 13449 | 11697
[10 empty] | 19 | 15768.1 | 28918 | 10013 | 22144.81 | 17081.81 | 15587 | 13251
[10 empty] | 20 | 16598 | 30440 | 10540 | 22899.8 | 17836.8 | 16056 | 13720
[10 empty] | 21 | 17427.9 | 31962 | 11067 | 23654.79 | 18591.79 | 16525 | 14189
[10 empty] | 22 | 18257.8 | 33484 | 11594 | 24409.78 | 19737.78 | 16994 | 14658
[10 empty] | 23 | 19087.7 | 35006 | 12121 | 26139.77 | 20492.77 | 17463 | 15127
[10 empty] | 24 | 19917.6 | 36528 | 12648 | 26894.76 | 21247.76 | 17932 | 15596
[10 empty] | 25 | 20747.5 | 38050 | 13175 | 28624.75 | 22393.75 | 20070 | 17150
[10 empty] | 26 | 21577.4 | 39572 | 13702 | 29379.74 | 23148.74 | 20539 | 17619
[10 empty] | 27 | 22407.3 | 41094 | 14229 | 30134.73 | 23903.73 | 21008 | 18088
[10 empty] | 28 | 23237.2 | 42616 | 14756 | 30889.72 | 25049.72 | 21477 | 18557
[10 empty] | 29 | 24067.1 | 44138 | 15283 | 32619.71 | 25804.71 | 21946 | 19026
[10 empty] | 30 | 24897 | 45660 | 15810 | 33374.7 | 26559.7 | 22415 | 19495
[10 empty] | 31 | 25726.9 | 47182 | 16337 | 35104.69 | 27705.69 | 24553 | 21049
[10 empty] | 32 | 26556.8 | 48704 | 16864 | 35859.68 | 28460.68 | 25022 | 21518
[10 empty] | 33 | 27386.7 | 50226 | 17391 | 36614.67 | 29215.67 | 25491 | 21987
[10 empty] | 34 | 28216.6 | 51748 | 17918 | 37369.66 | 30361.66 | 25960 | 22456
[10 empty] | 35 | 29046.5 | 53270 | 18445 | 39099.65 | 31116.65 | 26429 | 22925
[10 empty] | 36 | 29876.4 | 54792 | 18972 | 39854.64 | 31871.64 | 26898 | 23394
[10 empty] | 37 | 30706.3 | 56314 | 19499 | 41584.63 | 33017.63 | 29036 | 24948
[10 empty] | 38 | 31536.2 | 57836 | 20026 | 42339.62 | 33772.62 | 29505 | 25417
[10 empty] | 39 | 32366.1 | 59358 | 20553 | 43094.61 | 34527.61 | 29974 | 25886
[10 empty] | 40 | 33196 | 60880 | 21080 | 43849.6 | 35673.6 | 30443 | 26355
[10 empty] | 41 | 34025.9 | 62402 | 21607 | 45579.59 | 36428.59 | 30912 | 26824
[10 empty] | 42 | 34855.8 | 63924 | 22134 | 46334.58 | 37183.58 | 31381 | 27293
[10 empty] | 43 | 35685.7 | 65446 | 22661 | 48064.57 | 38329.57 | 33519 | 28847
[10 empty] | 44 | 36515.6 | 66968 | 23188 | 48819.56 | 39084.56 | 33988 | 29316
[10 empty] | 45 | 37345.5 | 68490 | 23715 | 49574.55 | 39839.55 | 34457 | 29785
[10 empty] | 46 | 38175.4 | 70012 | 24242 | 50329.54 | 40985.54 | 34926 | 30254
[10 empty] | 47 | 39005.3 | 71534 | 24769 | 52059.53 | 41740.53 | 35395 | 30723
[10 empty] | 48 | 39835.2 | 73056 | 25296 | 52814.52 | 42495.52 | 35864 | 31192
[10 empty] | 49 | 40665.1 | 74578 | 25823 | 54544.51 | 43641.51 | 38002 | 32746
[10 empty] | 50 | 41495 | 76100 | 26350 | 55299.5 | 44396.5 | 38471 | 33215
[10 empty] | 51 | 42324.9 | 77622 | 26877 | 56054.49 | 45151.49 | 38940 | 33684
[10 empty] | 52 | 43154.8 | 79144 | 27404 | 56809.48 | 46297.48 | 39409 | 34153
[10 empty] | 53 | 43984.7 | 80666 | 27931 | 58539.47 | 47052.47 | 39878 | 34622
[10 empty] | 54 | 44814.6 | 82188 | 28458 | 59294.46 | 47807.46 | 40347 | 35091
[10 empty] | 55 | 45644.5 | 83710 | 28985 | 61024.45 | 48953.45 | 42485 | 36645
[10 empty] | 56 | 46474.4 | 85232 | 29512 | 61779.44 | 49708.44 | 42954 | 37114
[10 empty] | 57 | 47304.3 | 86754 | 30039 | 62534.43 | 50463.43 | 43423 | 37583
[10 empty] | 58 | 48134.2 | 88276 | 30566 | 63289.42 | 51609.42 | 43892 | 38052
[10 empty] | 59 | 48964.1 | 89798 | 31093 | 65019.41 | 52364.41 | 44361 | 38521
[10 empty] | 60 | 49794 | 91320 | 31620 | 65774.4 | 53119.4 | 44830 | 38990
|  |  | 0 | 0 | 0 | 68259.38 | 55020.38 | 47437 | 41013 | 61 | 50623.9 | 92842 | 32147 | 67504.39 | 54265.39 | 46968 | 40544
[10 empty] | 62 | 51453.8 | 94364 | 32674 | 68259.38 | 55020.38 | 47437 | 41013
[10 empty] | 63 | 52283.7 | 95886 | 33201 | 69014.37 | 55775.37 | 47906 | 41482
[10 empty] | 64 | 53113.6 | 97408 | 33728 | 69769.36 | 56921.36 | 48375 | 41951
[10 empty] | 65 | 53943.5 | 98930 | 34255 | 71499.35 | 57676.35 | 48844 | 42420
[10 empty] | 66 | 54773.4 | 100452 | 34782 | 72254.34 | 58431.34 | 49313 | 42889
[10 empty] | 67 | 55603.3 | 101974 | 35309 | 73984.33 | 59577.33 | 51451 | 44443
[10 empty] | 68 | 56433.2 | 103496 | 35836 | 74739.32 | 60332.32 | 51920 | 44912
[10 empty] | 69 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000

## Explanations
Scada | 1212C | 1510sp
higher level language support c/c++ and node red ( allowing for javascript & php | Only supports SCL LAD and FBD | Supports SCL LAD FBD GRAPH and LOAD | Dev Cost | Language Development Speed | Misc | Pac Lite Addons mentioned by dariusz/wade |  | Devlin thoughts
Comes with boost isntalled and able to install other c++ libraries | Still library expandable but less common than c++ libraries | Still library expandable but less common than c++ libraries |  | Library Expandability | Reverse Scale from 123 to 321 | Error Reporting Complexity | Uses extra pins to not only report wether a product was bad or not but what machine code caused the error ( user defined on setup) | Possibly make a broker that can also communicate through to Eng database as well as the camstar database.
Just a screen that takes hdmi in. no specific programming needed | Has to be programmed and connects over profinet or profi bus. Requires simatic step 7 software to program | Has to be programmed and connects over profinet or profi bus. Requires simatic step 7 software to program |  | HMI Simplicity | Mproject Name? | Input/starving/blocking | If capable add a pin input to tell whether the machine is being starved blocked or is receivieng input. | Possibly use 1200 for multiple machines if I am stuck doing this for longer. Use IO Link Master and io slaves. Probably only able to support 2 machines ( one in one out 4 total supported) however you may be able to have multiple IO Link Masters.
Very common language so some probably have some experience but its not even close to siemens | It’s the language most people here know and as for ladder its very easy to understand in general for both technicians and engineers | It’s the language most people here know and as for ladder its very easy to understand in general for both technicians and engineers In addition it supports SCL and Graph both can compile down to stl which is easeir to understand. | Maintainability | Experience of local engineers
Admin Website capable allowing remote administration and diagnostic however its would be an inhouse tool where siemens diagnostic is supported by siemens | Remote administration of plc's on the same network. Less user friendly than a purpose built site but will get a lot better support, and engineers atleast if not technicians are accustomed to and addept at remote connecting to the plcs unlike the scada box. | Remote administration of plc's on the same network. Less user friendly than a purpose built site but will get a lot better support, and engineers atleast if not technicians are accustomed to and addept at remote connecting to the plcs unlike the scada box. |  | Ease of Administration
Cant replace parts but the entire machine is much cheaper | Machine is much more expensive but individual parts can be replaced and are rated for a much higher ip level schock and temperature ratings. | Machine is much more expensive but individual parts can be replaced and are rated for a much higher ip level schock and temperature ratings. |  | Cost of repair/Replacement
It’s a converted beagel bone black. Its not really designed for industrial settings | Designed tested and implemented in industrial settings everywhere has waterproof ratings shock ratings etc ip20 15g -20 to 70 C | Designed tested and implemented in industrial settings everywhere has waterproof ratings shock ratings etc ip20 15g -20 to 70 C |  | Designed for an industrial Setting
New to all engineers here and it’s a custom development environment with a custom middle ware. To maintain a new development environment would have to be made available | The most common development environment at osram, known to all a majority of the engineers at osram. | The most common development environment at osram, known to all a majority of the engineers at osram. |  | Common Development Environment
Very little documentation currently. It’s a work in progress system bugs will be found and they will cause problems | Siemens forums and several hundred page manuals at the tip of your fingers | Siemens forums and several hundred page manuals at the tip of your fingers |  | Documentation
All IO Comes built in ( 2 serial ports 4 themral interfaces 1 idra receiver 8 digital in 8 digital out 8 analog in | 10 input 4 output all digital | 0 inputs 0 outputs | IO | Built In IO
No possible expansion | 0 signal boards 3 comunication modules 8 io modules. | 0 signal boards 3 comunication modules 8 io modules per remote io. |  | IO Expansion
Flash the device wire it in then change the ip,name,line, and server your pointing it to then it should be good to go | Flash the device wire it in then change the ip,name,line, and server your pointing it to then it should be good to go | Flash the device then wire it in and the four machines it is going to be interfaceing with then wire in the four HMI's then configure it so that the HMI's match which machine it is on give it an iP Name and server to send to. | Ease of setup | Complexity
Higher level language allows for much greater degree of comunication to and from server. Allowing for even direct queeries to be run against a database to check. | Siemens only natively supports publishing in mqtt and communication in general is more limited on the PLC's thanks to its lowerlevel language development and less expandably library sets. | Siemens only natively supports publishing in mqtt and communication in general is more limited on the PLC's thanks to its lowerlevel language development and less expandably library sets. | Adaptability | Receiveing Additional restrictions from server
Can assign different priorities to different threads allowing background threads to not slow down realtime performance. | All code treated equal making it more difficult to balance Heavy background tasks. But very easy to debug and understand the code | Same problem but shared amoung 4 machines meaning if one has a heavy task it can affect all of them |  | Ability to do heavy workloads without impacting real time processes
Higher level language allows for greater server machine communication through different communication methods | Restricted to only comunication formats supported by the plc software/hardware | Restricted to only cummunication formats supported by the plc software/hardware |  | Comunication methods supported
Suports 1 machine Limited in terms of IO, HMI | Supports one machine but can be augmented to support 2. Limited by IO supported by the link master that would be added to manage the remote io. Would further be limited to 2 remote io blocks per device to accomadate 2 This would be much more expensive per machine than one however and may end up being more per machine than the 1510sp. still it is an option | Supports 4 machines. Limited by number of HMI's |  | Multi Machine Support
only a few extra pins would be limited with the number of specific error messages it could send back. | High expandability means that it would be much less if not at all limited to error reporting complexity. | High expandability means that it would be much less if not at all limited to error reporting complexity. |  | Error Reporting Complexity
Able to assign different prioritys in xenomai which means that at a kernal level all realtime code will be excecuted before any non realtime code and things of the same priority are put on a first in first out stack | Able to code in a way that it runs only a few instructions per scan of a heavy workload. Does not allow full backgorund task capability but can be used to do heavy workloads slowly without stoping realtime tasts. Just a bit more wastefull on time. | Able to code in a way that it runs only a few instructions per scan of a heavy workload. Does not allow full backgorund task capability but can be used to do heavy workloads slowly without stoping realtime tasts. Just a bit more wastefull on time. One thing to note is one lines heavy load could impact all four lines realtime processes. in addition to the heaveir workload of manageing four seperate lines. |  | Allows for background Tasks to be run without interupting realtime application.

## Old ScoreSheet
|  | Scada | 1212C | 1510sp |  | Scada | 1212C | 1510sp
Dev Cost | Language Development Speed | 10 | 6 | 8 | Software Flexability | 54 | 37 | 39 |  |  | Purely Requirement Based new 1 low 3 3 high | [6 empty] | requirement based old (1 high 3 low
| Library Expandability | 8 | 6 | 6 | Maintainability | 9.5 | 27 | 27 |  |  |  | Scada | 1212C | 1510sp single | 1510sp muLTI | Weight |  |  | Scada | 1212C | 1510sp | Weight
| HMI Simplicity | 10 | 7 | 4 | Hardware Flexability | 27 | 33 | 24 |  | Software flexibilty | Supports MQTT | 3 | 2 | 2 | 2 | 2 | Software flexibilty | Supports MQTT | 1 | 2 | 2 | 2
Maintainability | Experience of local engineers | 2 | 10 | 10 | Ease of setup | 18 | 24 | 9 |  |  | Background Tasks | 3 | 2 | 2 | 2 | 1 |  | Background Tasks | 1 | 2 | 2 | 1
| Ease of Administration | 6 | 8 | 8 | [6 empty] | Supports Local HMI | 3 | 3 | 3 | 3 | 2 |  | Supports Local HMI | 1 | 1 | 1 | 2
| Cost of repair/Replacement | 4 | 8 | 8 | Overall | 23.6 | 29.6 | 25.2 |  | Maintainability | Experience of local engineers | 1 | 3 | 3 | 3 | 2 | Maintainability | Experience of local engineers | 3 | 1 | 1 | 2
| Designed for an industrial Setting | 3 | 10 | 10 | Cost | 47.4383 | 33.8753 | 27.4574 | 6 |  | Easy Remote Administration | 3 | 2 | 2 | 2 | 1 |  | Easy Remote Administration | 1 | 2 | 2 | 1
| Common Development Environment | 1 | 8 | 8 |  | Overall | Cost | Score per Dollar |  |  | Low cost to repair or replace | 1 | 3 | 2 | 2 | 1 |  | Low cost to repair or replace | 3 | 1 | 2 | 1
| Documentation | 3 | 10 | 10 | Scada TouchScreen | 23.6 | 47.4383 | 44.7818 |  |  | Designed for an industrial setting | 1 | 3 | 3 | 3 | 1 |  | Designed for an industrial setting | 3 | 1 | 1 | 1
IO | Built In IO | 8 | 4 | 1 | S7 1212 | 29.6 | 33.8753 | 40.1084 |  |  | Common development environment | 1 | 3 | 3 | 3 | 2 |  | Common development environment | 3 | 1 | 1 | 2
| IO Expansion | 1 | 7 | 7 | S7 1510sp | 25.2 | 27.4574 | 27.6771 |  |  | documentation | 1 | 3 | 3 | 3 | 2 |  | documentation | 3 | 1 | 1 | 2
Ease of setup | Complexity | 6 | 8 | 3 | [5 empty] | IO | Built In IO | 2 | 3 | 3 | 3 | 1 | IO | Built In IO | 1 | 2 | 3 | 1
Adaptability | Receiveing Additional restrictions from server | 8 | 5 | 5 | [6 empty] | IO Expansion | 1 | 3 | 3 | 3 | 1.5 |  | IO Expansion | 3 | 1 | 1 | 1.5
| Ability to do heavy workloads without impacting real time processes | 8 | 5 | 4 | [5 empty] | Ease of setup | Complexity | 3 | 3 | 2 | 2 | 1 | Ease of setup | Complexity | 1 | 1 | 2 | 1
| Comunication methods supported | 8 | 4 | 4 | [5 empty] | Adaptability | Adding Restrictions from other software | 3 | 2 | 2 | 2 | 1 | Adaptability | Adding Restrictions from server | 1 | 2 | 2 | 1
| Multi Machine Support | 2 | 4 | 8 | [6 empty] | Multi Machine Support | 1 | 2 | 3 | 3 | 1 |  | Multi Machine Support | 3 | 2 | 1 | 1
[11 empty] | Error Reporting Complexity | 1 | 3 | 3 | 3 | 1.5 |  | Error Reporting Complexity | 3 | 1 | 1 | 1.5
[11 empty] | Equal Weight | 31.5 | 40.5 | 38 | 38 |  |  | Equal Weight | 27 | 21 | 25
[11 empty] | Weighted for Maintainability and Setup | 27.8333 | 36.8333 | 31.3333 | 31.3333 |  |  | Weighted for Better Maintainability and setup | 38 | 27.5 | 35
[11 empty] | Weighted for Expansion and Adaptability | 35.1667 | 44.1667 | 44.6667 | 44.6667 |  |  | Weighted for better expansion and adaptability | 43 | 35.5 | 40
[11 empty] | Weighted for Custom Weights | 38 | 57 | 105 | 56 |  |  | Weighted for Custom Weights | 45 | 28 | 30
[12 empty] | Scada | 1212C | 1510sp | 1510sp |  |  |  | Scada | 1212C | 1510sp
[11 empty] | Software Flexability | 36 | 28 | 28 | 28 |  |  | Software Flexability | 3 | 5 | 5
[11 empty] | Maintainability | 16 | 34 | 32 | 32 |  |  | Maintainability | 8 | 3.5 | 4
[11 empty] | Hardware Flexability | 18 | 36 | 36 | 36 |  |  | Hardware Flexability | 6 | 4.5 | 6
[11 empty] | Ease of setup | 36 | 36 | 24 | 24 |  |  | Ease of setup | 3 | 3 | 6
[11 empty] | Adaptability | 20 | 28 | 32 | 32 |  |  | Adaptability | 7 | 5 | 4
[11 empty] | Overall | 31.5 | 40.5 | 38 | 38 |  |  | Overall | 27 | 21 | 25
[11 empty] | Cost | 21.08 | 29.52 | 7.0619 | 36.42 |  |  | Cost | 527 | 737.85 | 1523
[12 empty] | Equal Weight | Weighted for Maintainability and Setup | Weighted for Expansion and Adaptability | Cost | Score per Dollar |  |  | Equal Weight | Weighted for Better Maintainability and setup | Weighted for better expansion and adaptability | Cost | Score per Dollar
[11 empty] | Scada TouchScreen | 31.5 | 27.8333 | 35.1667 | 48.92 | 29.8861 |  | Scada TouchScreen | 43 | 32 | 27 | 189.7533 | 163.1879
[11 empty] | S7 1212 | 40.5 | 36.8333 | 44.1667 | 40.48 | 27.439 |  | S7 1212 | 49 | 42.5 | 34.5 | 135.5289 | 132.8183
[11 empty] | S7 1510sp | 38 | 31.3333 | 44.6667 | 33.58 | 20.8677 |  | S7 1510sp | 45 | 35 | 30 | 65.6599 | 59.0939

## New Score 2
Purely Requirement Based new 1 low 3 3 high
required |  |  |  | Scada | 1212C | 1510sp single | 1510sp multi | Weight | Only Required
yes | 1 | Software flexibilty | Supports MQTT | 3 | 2 | 2 | 2 | 100 | 100
yes | 4 | Maintainability | Experience of local engineers and E-Techs | 1 | 3 | 3 | 3 | 60 | 60
yes | 6 |  | Low cost to repair or replace | 1 | 3 | 3 | 3 | 50 | 50
yes | 8 |  | Availabile development environment | 1 | 3 | 3 | 3 | 75 | 75
yes | 9 |  | documentation | 1 | 3 | 3 | 3 | 100 | 100
yes | 12 | Ease of setup | Complexity of setup/Configuration | 3 | 3 | 3 | 2 | 10 | 10
yes | 16 | cost | Cost | 3 | 2 | 1 | 4 | 37.5 | 37.5
no | 2 |  | Background Tasks | 3 | 2 | 2 | 2 | 10 | 0
no | 3 |  | Supports Local HMI per machine | 3 | 3 | 3 | 1 | 40 | 0
no | 5 |  | Easy Remote Administration | 2 | 2 | 2 | 2 | 40 | 0
no | 7 |  | Designed for an industrial setting | 1 | 3 | 3 | 3 | 10 | 0
no | 10 | IO | Built In IO | 2 | 3 | 1 | 1 | 10 | 0
no | 11 |  | IO Expansion | 1 | 3 | 3 | 3 | 10 | 0
no | 13 | Adaptability | Adding Restrictions from other software | 3 | 2 | 2 | 2 | 10 | 0
no | 14 |  | Multi Machine Support | 1 | 1 | 1 | 3 | 10 | 0
no | 15 |  | Bad Part Details | 1 | 3 | 3 | 3 | 10 | 0
|  |  | Score | 1047.5 | 1530 | 1472.5 | 1515
|  |  | Only Required | 727.5 | 1160 | 1122.5 | 1225
|  |  | Percent Diff | -30.5489 | -24.183 | -23.7691 | -19.1419 | -24.4107 | Average Diff